## Slide 1
Attachment 1 – System Technical Description
Supply Reservoir
Water
Distribution
Tower
To Residents
Technical Data
Supply Min Water Level = .5m
Supply Max Water Level = 3 m
Tower Min Water Level = 10 m
Tower Max Water Level = 13 m
Water Tower Radius = 3 m
Max Flow Rate = 500 m3/hr
Pump System